SPECIFICATIONS

COUNTY COMMISSION OF KANAWHA COUNTY

CHARLESTON, WEST VIRGINIA

ITEM:			Security/Fire Alarm System for the Dunbar Warehouse Property

LOCATION:		Kanawha County Commission

409 Virginia Street, East

Charleston, WV 25301

CONTACT:		Jerie Whitehead				Bill White

Purchasing Director				Public Safety Director

Kanawha County Commission		Kanawha County Commission

407 Virginia St., East			407 Virginia Street, East

P.O. Box 3627				Charleston, WV 25301

Charleston, WV 25336			Telephone (304) 357-0111

Telephone (304) 357-0115

BID OPENING:	Bids must be received in a sealed envelope, with the date and time of the bid opening on the outside of the envelope, on or before Friday, March 14, 2003, at 11:00 a.m., in the Kanawha County Commission Purchasing Office, 407 Virginia Street, East, Third Floor, Room 229, Charleston, West Virginia 25301 (P.O. Box 3627, Charleston, WV 25336).  Faxed bids will not be accepted.

SPECIFICATIONS:	The following specifications are intended to describe the installation of a security/fire alarm system for the Dunbar Warehouse and the details contained in these specifications are not designed to exclude any vendor from bidding, but are offered as a means of describing the needs of the Kanawha County Commission.  Where brand names may be used, the words Aor equal@ are assumed to follow.  All specifications are minimum requirements.

1.	Commercial security/fire alarm system to include the installation of the following equipment at the Dunbar Warehouse Property located at 2605 Charles Avenue, Dunbar, WV:

a.	One (1) 	Control

b.	Three (3) 	Keypads

c.	One (1) 	Commercial fire module 2-line super control FAC

d.	One (1) 	4-AMP power supply

e.	One (1) 	Housing

f.	Two (2) 	Dual battery harnesses

g.	Three (3)	12V, 8AH batteries

h.	Eight (8)	Zone expanders

i.	Three (3)	Commercial pull stations

j.	Fourteen (14) Heat/smoke detectors

k.	Five (5)	Horn/strobe lights

l.	Three (3)	Strobe lights

m.	One (1)	Outside siren

n.	Two (2)	Roll up door contacts

o.	Three (3) 	Biased door contacts

p.	One (1)	Sprinkler detection alarm

q.	Fire wire

r.	Battery backup

s.	Must meet ADA requirements on Bingo Building side

t.	Security/fire alarm monitoring services to be dispatched to Metro 911

Alternate #1:  Consolidate existing panel in Bingo Building with                                    Storage Building

2.	State of West Virginia Prevailing Wage Rates, as established by the most recent publication of those rates, are required to be paid by the Contractor and all Sub-Contractors.  The Kanawha County Commission reserves the right to request any and all payroll records.

3.	Proof of insurance is required by successful bidder.

4.	Any and all additions in the scope of work (Change Orders) to these bid specifications must be approved by the Kanawha County Commission prior to the work being performed.  The Kanawha County Commission will not guarantee payment for work performed outside of the scope of these bid specifications without prior approval from the Commission.

TERMS & CONDITIONS:

1.	Worker=s Compensation and Unemployment Premiums: Successful            bidder must provide satisfactory certification from the Commissioner of Employment Security as to current status of vendor=s Workers=               Compensation and Unemployment Security premiums..

2.	Substantial Completion:  Final payment of 5% of the contract will be          withheld pending substantial completion of the job.

3.	Standards of Quality and Codes: All work, labor, materials and equipment  specified, constructed and installed are to be of first class quality.  To help   insure this occurs, all work and equipment designed and specified shall     conform to the latest applicable codes and standards:

A.  Building Officials & Code Administrators (BOCA)

B.  American Society of Testing Materials (ASTM)

C.  American National Standards Institute (ANSI)

D.  National Fire Protection Association (NFPA)

E.  National Electric Code (NEC)

All work must also have the approval of all WV governmental authorities and agencies having jurisdiction of the project:

1.  WV State Fire Marshall

2.  WV Department of Health

3.  WV Department of Natural Resources

For the Owner=s Record, submit copies of permits, licenses, certifications, inspection reports, releases, notices, receipt for fee payments, correspondence and records established in conjunction with compliance with standards and regulations bearing upon performance of work.

4.    Safety & Job Site Requirements:  All Federal Occupational Safety & Health Administration Regulations must be followed by all contractor personnel while performing work for the Kanawha County Commission.  All work as described or required shall be executed in neat, skillful, workmanlike manner in accordance with the best recognized trade practices.  Only competent workmen who satisfactorily perform their duties shall be employed on this project.  Contractor shall discharge and shall not re-employ on this project, any person who is disorderly, dangerous, insubordinate, incompetent or otherwise objectionable or who uses alcohol or illicit drugs on the job site.

REQUIREMENTS:

Real Estate and Personal Property Taxes:  “No bid will be accepted or opened on any County contract if the vendor is listed on the last published list of delinquent real or personal property taxes in Kanawha County; however, the Commission will accept bids by vendors who provide satisfactory proof of payment of current taxes or a certification from the Sheriff that Ano taxes are due” prior to submission of said bid.

Required Forms:     Vendor shall complete and submit, or have on file with the County, a Vendor Registration and Disclosure Statement Form.

Rejection of Bids:  The Kanawha County Commission reserves the right to reject any and/or all bids and to waive any informalities in bidding.