KANAWHA COUNTY COMMISSION

P. O. BOX 3627

407 VIRGINIA STREET, EAST

CHARLESTON, WEST VIRGINIA 25336

(304) 357-0117

Request for Bids

Re:			Generator for Backup Power at Bee Mountain Radio Tower Site

Date:			November 13, 2003

Fiscal Year:		2003-04

Bid Opening:	Bids must be received on or before Friday, December 5, 2003, at 2:15 p.m. in the Kanawha County Commission Purchasing Office, 407 Virginia Street, East, Third Floor, Room 229, Charleston, WV 25301 (P.O. Box 3627, Charleston, WV 25336)

INSTRUCTIONS TO BIDDERS:

*PLEASE USE THIS FORM AS THE COVER SHEET FOR YOUR BID

1.	Bids must be received in a sealed envelope with the date and time of the bid opening on the outside of the envelope.  Faxed bids will not be accepted.

2.	Bids are to be signed.

3.	Bid must be F.O.B. Delivery Point, unless otherwise indicated in proposal.

4.	All bids should be in ink, showing all facts and the total amount of the bid.

5.	The County reserves the right to accept or reject in part or in whole any bid submitted, whichever is in the best interest of the County.

| Item No. | Description | Bid Amount |
| --- | --- | --- |
| 1 | Generator for Backup Power at Bee Mountain Tower Site per the attached Specifications | $ |

Written Bid Amount : ________________________________________________________________________________________________________________________________________________________Dollars

Vendor Name:  _____________________________     	Signature: 	__________________________

Address:           _____________________________     	Date:  		__________________________

_____________________________  		Telephone:   ________________________

***ATTENTION VENDORS***

Have you registered for the Kanawha County Commission Automatic Vendor E-Mail Notification System for bid specifications?  Register by visiting our website @ www.kanawhacounty.com/purchasing/alerts .

SPECIFICATIONS

COUNTY COMMISSION OF KANAWHA COUNTY

CHARLESTON, WEST VIRGINIA

ITEM:	Generator for Backup Power at Bee Mountain Radio Tower Site

LOCATION:	Kanawha County Commission

409 Virginia Street, East

Charleston, WV 25301

CONTACT:		Jerie Whitehead			Bill White

Purchasing Director			Director Office of Emergency Services

Kanawha County Commission	407 Virginia Street, east

407 Virginia St., East		Charleston, WV 25301

P.O. Box 3627			Telephone (304) 357-0111

Charleston, WV 25336

Telephone (304) 357-0115

BID OPENING:	Bids must be received in a sealed envelope, with the date and time of the bid opening on the outside of the envelope, on or before Friday, December 5, 2003, at 2:15 p.m., in the Kanawha County Commission Purchasing Office, 407 Virginia Street, East, Third Floor, Room 229, Charleston, West Virginia 25301 (P.O. Box 3627, Charleston, WV 25336).  Faxed bids will not be accepted.

SPECIFICATIONS:	The following specifications are intended to describe a generator for the Bee Mountain Radio Tower Site and the details contained in these specifications are not designed to exclude any vendor from bidding, but are offered as a means of describing the needs of the Kanawha County Office of Emergency Services.  Where brand names may be used, the words Aor equal@ are assumed to follow.  All specifications are minimum requirements.

1.	Generator for backup power for Bee Mountain Radio Tower Site as follows:

A.	Cummins/Oman 12 KW 12 GHAB generator, propane, one phase, must include low oil shut down

B.	200 Amp transfer switch, one phase

C.	Exercise timer to auto test generator one time per week for 15 minutes

D.	Secure mounting to floor in room where it will be located, including, if necessary, a pad to weld frame of generator to the floor to prevent theft

E.	Propane tank and plumbing

F.	Delivery and installation

G.	One-Year Service Contract to service generator quarterly

H.	Local service is required 24 hours per day, seven days per week

M.	Provide service and warranty details with bid documents

Bid Specifications

Generator

Page Two

REQUIREMENTS:

Real Estate and Personal Property Taxes:  ANo bid will be accepted or opened on any County contract if the vendor is listed on the last published list of delinquent real or personal property taxes in Kanawha County; however,  the Commission will accept bids by vendors who provide satisfactory proof of payment of current taxes or a certification from the Sheriff that no taxes are due prior to submission of said bid.@

Required Forms:     Vendor shall complete and submit, or have on file with the County, a Vendor Registration and Disclosure Statement Form.  A registration form is being supplied for your convenience.

Rejection of Bids:  The Kanawha County Commission reserves the right to reject any and/or all bids and to waive any informalities in bidding.